{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":240,"n_cols":8,"rows_kept":240,"merged":[[0,0,0,7],[238,0,238,5],[239,0,239,7]],"flags":["formulas_cached_only"]}
["报价清单"]
["序号","使用项目","试剂名称","规格、型号","预计购入量","单价（元）","总价（元）","备注"]
[1,"COD","硫酸汞","250g",2,null,0,"国药"]
[2,"COD","硫酸银","100g",10,null,0,"国药"]
[3,"COD","重铬酸钾溶液","500ml，0.250mol/L",1,null,0,"坛墨"]
[4,"COD","重铬酸钾","500g",2,null,0,"国药"]
[5,"COD","硫酸亚铁铵（六水）","500g，沪试",1,null,0,"国药"]
[6,"COD","硫酸"," 500mL,优级纯",180,null,0,"国药"]
[7,"COD","邻菲啰啉","5g",2,null,0,"国药"]
[8,"COD","硫酸亚铁（七水）","500g",1,null,0,"国药"]
[9,"COD","邻苯二甲酸氢钾","500g",1,null,0,"国药"]
[10,"COD","COD标准物质","120mg/L左右，20mL",8,null,0,"环标所"]
[11,"COD","COD标准物质","<50mg/L，20mL",8,null,0,"环标所"]
[12,"COD","COD标准物质","200mg/L左右，20mL",8,null,0,"环标所"]
[13,223,"COD预制试剂（标准方法：150℃、2小时）","HACH DR6000快速测定仪配套使用（100支/盒）",2,null,0,"0.7-40mg/L，PK/150"]
[14,"COD","COD预制试剂（标准方法：150℃、2小时）","HACH DR6000快速测定仪配套使用（100支/盒）",3,null,0,"3-150mg/L，PK/150"]
[15,"COD","COD预制试剂（标准方法：150℃、2小时）","HACH DR6000快速测定仪配套使用（100支/盒）",3,null,0,"20-1500mg/L，PK/150"]
[16,"TN","氢氧化钠","500g，含氮量＜0.0005%",1,null,0,"国药"]
[17,"TN","过硫酸钾","德国默克，250g",8,null,0,"默克"]
[18,"TN","盐酸","500ml，优级纯",10,null,0,"国药"]
[19,"TN","总氮标准液","100mg/L，50mL",8,null,0,"环标所"]
[20,"TN","总氮标准物质","10mg/L左右，20mL",10,null,0,"环标所"]
[21,"TN","总氮标准物质","5mg/L左右，20mL",10,null,0,"环标所"]
[22,"TN","总氮标准物质","小于1mg/L左右，20mL",10,null,0,"环标所"]
[23,"TN ","总氮试剂","HACH DR6000快速测定仪配套使用（100支/盒）",1,null,0,"量程：2 to 150 mg/L N；25-50tests；DRB200 15 x 16 mm"]
[24,"TN","总氮试剂","HACH  DR6000快速测定仪配套使用（100支/盒）",1,null,0,"量程：0.5 to 25.0 mg/L N；25-50tests；DRB200 15 x 16 mm"]
[25,"NH3-N","钠氏试剂","100mL",15,null,0,"九木"]
[26,"NH3-N","酒石酸钾钠","500g",1,null,0,"国药"]
[27,"NH3-N","硫代硫酸钠(五水）","麦克林，500g",1,null,0,"国药"]
[28,"NH3-N","淀粉","500g",1,null,0,"国药"]
[29,"NH3-N","碘化钾","500g",1,null,0,"国药"]
[30,"NH3-N","碳酸钠","500g",1,null,0,"国药"]
[31,"NH3-N","硫酸锌（7水）","500g，沪试",1,null,0,"国药"]
[32,"NH3-N","硼酸","500g",1,null,0,"国药"]
[33,"NH3-N","溴百里酚蓝","10g，沪试",1,null,0,"国药"]
[34,"NH3-N","无水乙醇","500ml",1,null,0,"国药"]
[35,"NH3-N","氨氮标准液","1000mg/L，50mL",2,null,0,"环标所"]
[36,"NH3-N","氨氮标准物质","20mg/L左右，20mL",12,null,0,"环标所"]
[37,"NH3-N","氨氮标准物质","1mg/L左右，20mL",12,null,0,"环标所"]
[38,"TP","抗坏血酸","100g",1,null,0,"国药"]
[39,"TP","钼酸铵","500g",1,null,0,"国药"]
[40,"TP","酒石酸锑钾","500g",1,null,0,"国药"]
[41,"TP","总磷标准液","50mg/L，50mL",4,null,0,"环标所"]
[42,"TP","总磷标准物质","2mg/L左右,20mL",10,null,0,"环标所"]
[43,"TP","总磷标准物质","0.5mg/L左右,20mL",10,null,0,"环标所"]
[44,"TP","总磷试剂","HACH DR6000快速测定仪配套使用（50支/盒）",1,null,0,"量程：0.06 to 3.50 mg/L PO43–；50 tests；DRB200 15 x 16 mm"]
[45,"TP","总磷试剂","HACH DR6000快速测定仪配套使用（50支/盒）",1,null,0,"量程：1.0 to 100.0 mg/L PO43–；25-50tests；DRB200 15 x 16 mm"]
[46,"DO","硫酸锰（无水或一水）","500g",1,null,0]
[47,"DO","碘酸钾","500g,优级纯",1,null,0,"AR500g"]
[48,"BOD","丙烯基硫脲","25g",1,null,0,"国药"]
[49,"BOD","磷酸二氢钾","500g",1,null,0,"国药"]
[50,"BOD","磷酸氢二钾（无水）","500g",1,null,0,"国药"]
[51,"BOD","磷酸氢二钠（七水）","500g",1,null,0,"国药"]
[52,"BOD","氯化铵","500g",1,null,0,"国药"]
[53,"BOD","硫酸镁（七水）","500g",1,null,0,"国药"]
[54,"BOD","氯化钙（无水）","500g",1,null,0,"国药"]
[55,"BOD","氯化铁（六水）","500g",1,null,0,"国药"]
[56,"BOD","亚硫酸钠(无水）","500g",1,null,0,"国药"]
[57,"BOD","葡萄糖","500g,优级纯",1,null,0,"国药"]
[58,"BOD","谷氨酸","500g,优级纯",1,null,0,"国药"]
[59,"BOD","乙酸","500mL",1,null,0,"国药"]
[60,"BOD","BOD营养盐缓冲溶液粉枕","哈希BOD5仪器配套使用",5,null,0,"哈希"]
[61,"BOD","氢氧化钾小丸","哈希BOD5仪器配套使用",5,null,0,"哈希"]
[62,"BOD","BOD标准液","哈希BOD5仪器配套使用",5,null,0,"哈希"]
[63,"BOD","硝化细菌抑制剂","哈希BOD5仪器配套使用",5,null,0,"哈希"]
[64,"BOD","菌种","哈希BOD5仪器配套使用",5,null,0,"哈希"]
[65,"乙酸钠含量测定","氯化钡溶液","沪试，100g/L",1,null,0,"国药"]
[66,"乙酸钠含量测定","酚酞","沪试，25g",1,null,0,"国药"]
[67,"氯化物","氯化钠标准溶液","0.0141mol/L",3,null,0,"环标所"]
[68,"氯化物","硝酸银标准溶液","0.0141mol/L",3,null,0,"环标所"]
[69,"氯化物","铬酸钾","500g",1,null,0,"国药"]
[70,"硝酸盐氮","硫酸铝","500g",1,null,0,"国药"]
[71,"硝酸盐氮","氨基磺酸","100g",1,null,0,"国药"]
[72,"硝酸盐氮","硝酸盐氮标准液","20000mg/L,100mL",2,null,0]
[73,"硝酸盐氮","硝酸盐氮标准液","1000mg/L,50mL",2,null,0,"环标所"]
[74,"硝酸盐氮","硝酸钾","优级纯",2,null,0]
[75,"硝酸盐氮","硝酸盐氮标准样","10mg/L左右，20mL",8,null,0,"环标所"]
[76,"次氯酸钠","硫代硫酸钠标准溶液","0.1mol/L",5,null,0,"国药"]
[77,"聚氯化铝","硝酸","500ml，AR",2,null,0,"易制毒"]
[78,"聚氯化铝","EDTA溶液","500ml，0.05mol/L",5,null,0,"坛墨"]
[79,"聚氯化铝","乙酸钠","500g",1,null,0,"国药"]
[80,"聚氯化铝","氨水","500mL",5,null,0,"国药"]
[81,"聚氯化铝","冰乙酸","500ml",1,null,0,"国药"]
[82,"聚氯化铝","氧化铝标准溶液","1g/L，500ml",5,null,0,"环标所"]
[83,"聚氯化铝","氯化锌标准滴定溶液","0.025mol/L，500ml",10,null,0,"环标所"]
[84,"聚氯化铝","百里香酚蓝","25g",1,null,0,"国药"]
[85,"聚氯化铝","二甲酚橙","25g",1,null,0,"国药"]
[86,"悬浮物","变色硅胶","500g",1,null,0,"国药"]
[87,"悬浮物","凡士林","500g",1,null,0,"国药"]
[88,"粪大肠菌群","M-FC培养基","250g",5,null,0,"杭微"]
[89,"pH","pH标准溶液",{"v":4,"d":"4.00"},2,null,0,"环标所"]
[90,"pH","pH标准溶液",6.86,2,null,0,"环标所"]
[91,"pH","pH标准溶液",9.18,2,null,0,"环标所"]
[92,"pH","pH电极保护液","250ml",2,null,0,"环标所"]
[93,"pH","氯化钾","500g",1,null,0,"国药"]
[94,"ORP","ORP标准溶液","220mV",4,null,0]
[95,"氟化物","丙酮","500mL",12,null,0,"易制毒"]
[96,"氟化物","氟试剂（3-甲基胺-茜素-二乙酸）","1g",1,null,0,"国药"]
[97,"氟化物","乙酸钠（三水）","500g",1,null,0,"国药"]
[98,"氟化物","硝酸镧（六水）","500g，麦克林",1,null,0,"国药"]
[99,"氟化物","乙酸钠（无水）","500g",1,null,0,"国药"]
[100,"氟化物","氟化物标准液","100ug/mL，50mL",3,null,0,"环标所"]
[101,"氟化物","氟化物标准物质","3mg/L左右，20mL",6,null,0,"环标所"]
[102,"氟化物","氟化物标准物质","1mg/L左右，20mL",6,null,0,"环标所"]
[103,"容量瓶","50ml，葵花","个",3,null,0,"葵花，出具校准证书"]
[104,"容量瓶","100ml，葵花","个",8,null,0,"葵花，出具校准证书"]
[105,"容量瓶","200ml，葵花","个",4,null,0,"葵花，出具校准证书"]
[106,"容量瓶","250ml，葵花","个",5,null,0,"葵花，出具校准证书"]
[107,"容量瓶","500ml，葵花","个",5,null,0,"葵花，出具校准证书"]
[108,"容量瓶","1000ml，葵花","个",5,null,0,"葵花，出具校准证书"]
[109,"滴瓶","100ml，葵花","个",5,null,0,"葵花，出具校准证书"]
[110,"棕色滴瓶","100ml，葵花","个",5,null,0,"葵花，出具校准证书"]
[111,"蓝盖无色玻璃瓶","500ml；聚四氟乙烯衬垫瓶盖","个",5,null,0,"蜀牛"]
[112,"蓝盖无色玻璃瓶","1000ml；聚四氟乙烯衬垫瓶盖","个",10,null,0,"蜀牛"]
[113,"棕色广口试剂瓶","250ml，葵花/蜀牛","个",4,null,0,"蜀牛"]
[114,"棕色广口玻璃瓶","500ml，葵花/蜀牛","个",4,null,0,"蜀牛"]
[115,"棕色广口试剂瓶","1L，葵花/","个",4,null,0,"蜀牛"]
[116,"无色广口试剂瓶","250ml，葵花/蜀牛","个",4,null,0,"蜀牛"]
[117,"无色广口试剂瓶","500ml，葵花/蜀牛","个",4,null,0,"蜀牛"]
[118,"无色广口试剂瓶","1000ml，葵花/蜀牛","个",4,null,0,"蜀牛"]
[119,"无色广口试剂瓶","10000ml，葵花/蜀牛","个",2,null,0,"葵花"]
[120,"烧杯","100ml，葵花","个",10,null,0,"葵花"]
[121,"烧杯","250ml，葵花","个",10,null,0,"葵花"]
[122,"烧杯","500ml，葵花","个",6,null,0,"葵花"]
[123,"烧杯","1L，葵花","个",6,null,0,"葵花"]
[124,"烧杯","2L，葵花","个",4,null,0,"葵花"]
[125,"刻度移液管","1ml，葵花","个",5,null,0,"葵花，出具校准证"]
[126,"刻度移液管","2ml，葵花","个",4,null,0,"葵花，出具校准证"]
[127,"刻度移液管","5ml，葵花","个",6,null,0,"葵花，出具校准证"]
[128,"刻度移液管","10ml，葵花","个",6,null,0,"葵花，出具校准证"]
[129,"刻度移液管","20ml，葵花","个",4,null,0,"葵花，出具校准证"]
[130,"无分度移液管","1ml，葵花","个",2,null,0,"葵花，出具校准证"]
[131,"无分度移液管","2ml，葵花","个",2,null,0,"葵花，出具校准证"]
[132,"无分度移液管","5ml，葵花","个",5,null,0,"葵花，出具校准证"]
[133,"无分度移液管","10ml，葵花","个",5,null,0,"葵花，出具校准证"]
[134,"无分度移液管","20ml，葵花","个",4,null,0,"葵花，出具校准证"]
[135,"无分度移液管","25ml，葵花","个",4,null,0,"葵花，出具校准证"]
[136,"无分度移液管","50ml，葵花","个",4,null,0,"葵花，出具校准证"]
[137,"量筒","25ml，葵花","个",5,null,0,"葵花，出具校准证"]
[138,"量筒","50ml，葵花","个",5,null,0,"葵花，出具校准证"]
[139,"量筒","100ml，葵花","个",5,null,0,"葵花，出具校准证"]
[140,"量筒","250ml，葵花","个",5,null,0,"葵花，出具校准证"]
[141,"量筒","500ml，葵花","个",5,null,0,"葵花，出具校准证"]
[142,"量筒","1L，葵花","个",5,null,0,"葵花，出具校准证书"]
[143,"磨口锥形瓶","250ml，葵花","个",5,null,0,"葵花"]
[144,"碘量瓶","250ml；带玻璃塞，葵花","个",5,null,0,"葵花"]
[145,"碘量瓶","500mL；带玻璃塞，葵花","个",5,null,0,"葵花"]
[146,"小玻璃漏斗","直径60mm，葵花","个",5,null,0,"葵花"]
[147,"小玻璃漏斗","直径75mm，葵花","个",5,null,0,"葵花"]
[148,"盖玻片","微生物镜检","盒",5,null,0]
[149,"载玻片","微生物镜检","盒",5,null,0]
[150,"无色酸式滴定管","50ml，葵花","个",2,null,0,"葵花，出具校准证书"]
[151,"具塞磨口比色管","25ml，葵花","个",30,null,0,"葵花，出具校准证书"]
[152,"具塞磨口比色管","50ml，葵花","个",30,null,0,"葵花，出具校准证书"]
[153,"培养皿","90mm,无菌一次性塑料","个",400,null,0]
[154,"醋酸纤维滤膜","孔径0.45um，直径50mm","盒",2,null,0]
[155,"比色皿","10mm，石英，葵花","盒",4,null,0]
[156,"比色皿","20mm，石英","盒",2,null,0]
[157,"溶解氧瓶","250~300ml，带水封装置校准至1ml，具塞温克勒瓶或其他适合的细口瓶，瓶肩最好是直的，每个瓶和盖都要有相同的号码，葵花","个",10,null,0,"葵花"]
[158,"称量瓶","60mm*30mm","个",10,null,0]
[159,"防爆玻璃珠","直径3~8mm","包",1,null,0]
[160,"玻璃棒","8mm*400mm，葵花","个",5,null,0]
[161,"移液枪","气密性好；200ul","个",1,null,0,"大龙"]
[162,"移液枪","气密性好；1ml","个",2,null,0,"大龙"]
[163,"移液枪","气密性好；10ml","个",2,null,0,"大龙"]
[164,"移液枪枪头","200ul，1000个/包","包",1,null,0,"大龙"]
[165,"移液枪枪头","1ml，1000个/包","包",4,null,0,"大龙"]
[166,"移液枪枪头","10ml，100个/包","包",5,null,0,"大龙"]
[167,"取样桶","不锈钢，2L","个",4,null,0]
[168,"丁腈手套","M码；100只/盒，光明","盒",12,null,0]
[169,"丁腈手套","L码；100只/盒，光明","盒",12,null,0]
[170,"无粉乳胶手套","L码；100只/盒，光明","盒",12,null,0]
[171,"劳保手套","加交点，加厚","副",3,null,0]
[172,"高温手套",null,"副",3,null,0]
[173,"厚橡胶手套","加长型，防腐、防酸防碱","副",3,null,0]
[174,"活性炭口罩","/","盒",10,null,0]
[175,"pH试纸","1~14","个",4,null,0]
[176,"比色管架","25ml，一排12孔，亚克力材质","个",4,null,0]
[177,"比色管架","50ml，一排12孔，亚克力材质","个",4,null,0]
[178,"CN-CA滤膜","孔径0.45μm、直径60mm","盒",3,null,0]
[179,"玻璃纤维滤膜","50mm,0.45Um，螺纹","盒",3,null,0]
[180,"塑料镊子","100*7mm","个",3,null,0]
[181,"瓷蒸发皿","直径90mm","个",5,null,0]
[182,"一次性透明PET采样瓶","250ml","个",100,null,0]
[183,"一次性透明PET 采样瓶","500ml","个",100,null,0]
[184,"一次性透明PET采样瓶","1000ml","个",100,null,0]
[185,"封口膜","10cm*38m","卷",1,null,0]
[186,"坩埚钳","304不锈钢350mm","个",1,null,0]
[187,"虹吸管","长度约1.6m，供分取水样或添加稀释水","根",1,null,0]
[188,"营养琼脂平板","海博生物，9cm","个",50,null,0]
[189,"脱脂棉球",null,"包",2,null,0]
[190,"酒精灯",null,"个",2,null,0]
[191,"中速定量滤纸","直径110mm","盒",1,null,0,"双圈"]
[192,"中速定性滤纸","直径110mm","盒",1,null,0,"双圈"]
[193,"慢速定量滤纸","直径110mm","盒",1,null,0,"双圈"]
[194,"慢速定性滤纸","直径110mm","盒",1,null,0,"双圈"]
[195,"牛皮纸","1000mm*800mm","张",2,null,0]
[196,"红色滴管胶头","滴瓶使用，100个/包","包",1,null,0]
[197,"纱布","820mm*1000mm","个",2,null,0]
[198,"棉绳","系比色管用","卷",1,null,0]
[199,"冰箱温度计","零下40℃~50℃","个",1,null,0]
[200,"水质总大肠菌群合粪大肠菌群测试纸片","10ml水样量纸片","张",40,null,0]
[201,"水质总大肠菌群合粪大肠菌群测试纸片","1ml水样量纸片","张",40,null,0]
[202,"自封袋","12号","个",200,null,0]
[203,"橡皮筋",null,"包",1,null,0]
[204,"一次性滴管","3ml，1000个/包","包",2,null,0]
[205,"无齿扁咀镊",null,"个",2,null,0]
[206,"尖头镊子","不锈钢,15cm","个",2,null,0]
[207,"瓷坩埚","100ml带盖","个",5,null,0]
[208,"瓷坩埚","250ml带盖","个",5,null,0]
[209,"药匙","不锈钢长柄","个",5,null,0]
[210,"称量纸","100mm*100mm","包",4,null,0]
[211,"洗耳球","大","个",8,null,0]
[212,"毛刷","大","个",4,null,0]
[213,"毛刷","中","个",4,null,0]
[214,"毛刷","小","个",2,null,0]
[215,"天平清洁毛刷",null,"个",2,null,0]
[216,"洗瓶","白色弯头，500ml","个",12,null,0]
[217,"废液桶","25L","个",12,null,0]
[218,"实验服（白大褂）","XL码","个",3,null,0]
[219,"棉签",null,"包",1,null,0]
[220,"铁架台（配蝴蝶机夹）","高度60mm","个",2,null,0]
[221,"聚四氟搅拌子 "," C型  6mm*20mm  ","个",3,null,0]
[222,"标签纸","63*56mm，100张/包","包",2,null,0]
[223,"标签纸","48*37mm，100张/包","包",2,null,0]
[224,"标签纸","定制采样标签、标准溶液标签，100张/包","包",2,null,0]
[225,"PP材质托盘","约35*25cm","个",2,null,0]
[226,"锥形瓶（不磨口）","250ml，葵花","个",5,null,0]
[227,"淀粉-碘化钾试纸","国药/三爱思","盒",4,null,0]
[228,"TDS水质检测笔","爱诗普霖","根",1,null,0]
[229,"透明护目镜","3M，防酸碱","个",3,null,0]
[230,"封条",null,"包",2,null,0]
[231,"布氏漏斗","150mm","个",1,null,0]
[232,"pp材质漏斗","50mm","个",10,null,0]
[233,"擦镜纸","金伯利","盒",2,null,0]
[234,"手提式高压蒸汽灭菌锅","上海申安DSX-24L-I","台",1,null,0]
[235,"数显恒温加热磁力搅拌器","DLAB大龙","台",1,null,0]
[236,"调速多用振荡器","力辰，HY-2","台",1,null,0]
["合计（元）",{"$nulls":5},0]
["说明：以上报价费用包含材料费、运输费（含危化品运输费）、辅材费、装卸费、税费、人工费等各项费用，最终以实际的采购量据实结算。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}